## PRT Coefficient Calculator
Model: |  |  | Instructions: | ITS-90
Serial: |  |  | Select the calibration type | IPTS-68
Report No:- |  |  | Select the high and low calibration sub ranges where applicable | CVD
Order No:- |  |  | Fill in the yellow cells under the heading Data | Polynomial
-note that the yellow fields represent the minimum number of data points required to calculate coefficients more data can be entered than is required
Calibration Subranges |  |  | Press the Calculate Coefficients button
LowRange
HighRange
Resistance Units:
Temperature Units:
Data
Temperature | Resistance | Residuals(°C)
0
0
0
0

## PRT Table Generator
Model: | Instructions:
Serial: | Select the calibration type
Calibration Type: | Select the high and low calibration sub ranges where applicable
Fill in the yellow cells
Press Generate Table

## Thermistor Coef. Calculator
Model: |  |  |  | Instructions:
Serial: |  |  |  | Select the calibration type
Calibration Type: |  |  | Calibration Coefficients | Select the high and low calibration sub ranges where applicable
|  |  | R(T) Coefficients | Fill in the yellow squares under the heading Data
-note that the yellow fields represent the minimum number of data points required to calculate coefficients more data can be entered than is required
Press the Calculate Coefficients button
Steinhart-Hart?
Resistance Units:
Temperature Units:
(T)R Coefficients
Data
Temperature | Resistance | Residuals(°C)
Calculate Coefficients

## Thermistor Table Generator
Model: | Instructions:
Serial: | Select the calibration type
Calibration Type: | Select a value for Steinhart-Hart
Fill in the yellow cells
Press Generate Table
Steinhart-Hart?

## TC Calculator
Model: |  |  |  | Type B
Serial:
Thermocouple Type:
Temperature Range:
Voltage Units:
Temperature Units:
Ref. Junc. Units:
Data
Temperature | Voltage | Ref. Junc. | Residuals(mV)

## TC Table Generator
Model: | Instructions:
Serial: | Select the TC type for which a table is to be generated
Thermocouple Type: | Fill in the yellow cells
To generate a reference table for a TC Type enter 0 for dc1 and dc2
Press Generate Table
dC1:
dC2: