## Brooks 5850 series
BoB - MFC Pinout Template
Manufacturer: Brooks
Model: 5850E or 5851E
MFM or MFC: MFC
Molbox1 to BoB Cable (15 Pin BoB input ) Black Banana Plug # | Molbox Signal Description | BoB to MFM/MFC Cable Red Banana Plug # | MFM/MFC Signal Description
1 | Case Ground | 14
2 | Supply Common | 9
3 | MFC Output (+) | 2
4 | +15 Volts | 5
5 | Set Point Sense (-) | 10
6 | Valve Test | 7 (Optional)
7 | Current MFC Output (+)
8 | Current MFC Set (+)
9 | MFC Setpoint (+) | 8
10 | MFC Setpoint (-) | 10
11 | MFC Output (-) | 10
12 | Valve Test Common | 10 (Optional)
13 | -15 Volts | 9
14 | Set Point Sense (+) | 8
15 | N/C

## Brooks SLA Delta Series
BoB - MFC Pinout Template
Manufacturer: Brooks
Model: SLA Delta Series
MFM or MFC: MFC
Molbox1 to BoB Cable (15 Pin BoB input ) Black Banana Plug # | Molbox Signal Description | BoB to MFM/MFC Cable Red Banana Plug # | MFM/MFC Signal Description
1 | Case Ground
2 | Supply Common | 9
3 | MFC Output (+)
4 | +15 Volts | 5
5 | Set Point Sense (-)
6 | Valve Test
7 | Current MFC Output (+) | 4
8 | Current MFC Set (+) | 7
9 | MFC Setpoint (+)
10 | MFC Setpoint (-) | 1
11 | MFC Output (-) | 10
12 | Valve Test Common
13 | -15 Volts | 9
14 | Set Point Sense (+)
15 | N/C