## Sheet1
BoB - MFC Pinout Template
Manufacturer:
Model:
MFM or MFC:
Molbox1 to BoB Cable (15 Pin BoB input ) Black Banana Plug # | Molbox Signal Description | BoB to MFM/MFC Cable Red Banana Plug # | MFM/MFC Signal Description
1 | Case Ground
2 | Supply Common
3 | MFC Output (+)
4 | +15 Volts
5 | Set Point Sense (-)
6 | Valve Test
7 | Current MFC Output (+)
8 | Current MFC Set (+)
9 | MFC Setpoint (+)
10 | MFC Setpoint (-)
11 | MFC Output (-)
12 | Valve Test Common
13 | -15 Volts
14 | Set Point Sense (+)
15 | N/C